Für den Inhalt des Kataloges tragen die Projektpartner die Verantwortung.

Za obsah katalogu odpovídají projektoví partneři.

Der Katalog wurde im Rahmen des Projektes MATun MATERIALWISSEN – UNIS GEMEINSAM hergestellt.

Katalog byl vytvořen v rámci projektu MATUN SVĚT MATERIÁLŮ – UNIVERZITY SPOLU.

Gefördert durch/ Podporováno:

Teil der Prioritätsachse 3: Bildung, lebenslanges Lernen, Kultur und Tourismus

Část prioritní osy 3: Vzdělávání, celoživotní vzdělávání, kultura a cestovní ruch

Projektlaufzeit / Doba realizace projektu: 08.09.2023 – 31.12.2026

Projektnummer / Označení projektu: 100686706

Gesamtkosten des Projektes/ Celkové náklady projektu: 761.832,93 EUR

Fördersumme EU / Dotační prostředky EU: 609.466,34 EUR

WebSite: http://matun.trans3net.eu

Alle Rechte vorbehalten.

Všechna práva vyhrazena.

Content

(Laboratory) sieving machine	5

(Low-voltage) scanning electron microscope	6

Air permeability tester	7

Atomic force microscope	8

Atomic force microscope	9

Climate chamber	10

Confocals laser-scanning-microscop (cLSM)	11

Contact angle goniometer	12

Determination of freezing delais	13

Digital microscope	14

Drop shape analyser	15

Electrospinning device	16

Ellipsometer	17

Freeze-drying system	18

FT-IR spectrometer + UATR	19

Gas-material de/sorption tester	20

Ice adhesion test	21

LINKAM-cooling chambre	22

Micro-CT	23

MicroTester / MicroSquisher	24

Moisture analyzer	25

Muffle furnace	26

Nano-hardness meter	27

Nanotribometer	28

NMR spectroscopy	29

Plasma apparatus for powders	30

Plasma apparatus for thin film formation	31

Powder x-ray diffractometer	32

Precellyser	33

Scanning electron microscope (SEM) with tungsten cathode	34

Tensile strength analysis	35

Ultramicrotome	36

Universal testing machine	37

UniVert – Mechanical Test Machine	38

UV/VIS Spektroscop	39

Vibrating mill	40

Water permeability tester	41

X-ray diffractometer for thin films	42

X-ray fluorescence spectrometer	43

X-ray photocelectron spectroscopy	44

# (Laboratory) sieving machine

Description

Screen sizes: 20 µm, 40 µm, 71 µm, 125 µm, 250 µm, 425 µm, 710 µm, each D = 100 mm, h = 40 mm

Technical Details

Výrobce / Hersteller: Retsch

Model / Modell: AS200

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# (Low-voltage) scanning electron microscope

Description

High-resolution low-voltage scanning electron microscope with field emission cathode Zeiss DSM 982 Gemini: resolution depends on sample, useful magnification: 100,000 - 200,000x, equipped with SE, SE-Inlens and BSE detector (Robinson detector), pixel resolutions of the images freely selectable by external image acquisition and beam control system DISS from Point-electronic, Noran-Voyager-3000-EDX system with Si(Li) detector

Technical Details

Výrobce / Hersteller: Carl Zeiss Microscopy GmbH

Model / Modell: DSM 982 Gemini

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Air permeability tester

Description

Determination of air permeability of textiles and nanotextiles

Technical Details

Výrobce / Hersteller: Polymertest

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# Atomic force microscope

Description

-

Technical Details

Výrobce / Hersteller: Bruker

Model / Modell: Bioscope + Axiovert100M

Contact Information

Location: TU Dresden

Kontaktní osoba / Ansprechperson: Josephine Roth

E-Mail: matun@tu-dresden.de

# Atomic force microscope

Description

Surface measurements by AFM (contact + intermittent contact)/ Lateral Force Microscopy / Magnetic Force Microscopy/ Electrostatic Force Microscopy / Scanning Capacitance Force Microscopy/ Kelvin Probe Force Microscopy / Piezoresponse Force Microscopy/ Spreading-Resistance Imaging / STM, samples up to 20 mm, range up to 3x3x2,6 um

Technical Details

Výrobce / Hersteller: NTMDT

Model / Modell: Ntegra Aura

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Climate chamber

Description

-

Technical Details

Výrobce / Hersteller: Espec

Model / Modell: SH-221

Contact Information

Location: TU Dresden

Kontaktní osoba / Ansprechperson: Josephine Roth

E-Mail: matun@tu-dresden.de

# Confocals laser-scanning-microscop (cLSM)

Description										Contact Information

- High-resolution imaging of fluorescently labeled samples			Location: TU Dresden

- Capable of optical sectioning for 3D reconstruction				E-Mail: matun@tu-dresden.de

Technical Details

Výrobce / Hersteller: Carl Zeiss Microscopy GmbH

Model / Modell: LSM 510

Sample size/sample quantity:

- Designed for microscopic samples

- Suitable for cellular and subcellular imaging

Requirements for sample preparation:

- Samples should be appropriately fixed and stained with fluorescent markers

- Mounting on standard microscope slides with coverslips

- Ensure compatibility of fluorophores with the system's laser lines

# Contact angle goniometer

Description

- Video-based optical contact angle measuring system for analyzing surface wettability and interfacial properties

- Utilizes high-performance 6x parfocal zoom lens with integrated continuous fine focus

- Suitable for static and dynamic contact angle measurements using sessile drop, captive bubble, and pendant drop methods

- Equipped with a high-resolution USB camera for precise drop shape analysis analyzing of contours and calculation of surface tensions and interfacial energies

Technical details						Contact Information:

Výrobce / Hersteller: Dataphysics				Location: TU Dresden

Model / Modell: OCA 20						Kontaktní osoba / Ansprechperson: Josephine Roth

Sample size/sample quantity: 					E-Mail: matun@tu-dresden.de

- Supports a wide range of sample sizes

Requirements for sample preparation:

- clean sample surface, free from contaminants

- appropriate liquid for contact angle measurement

# Determination of freezing delais

Description

In this system, surfaces and paints can be tested for their freeze-delay effect. The system is designed for the automated gray value-controlled recording of the freezing temperature of 50 drops per temperature control cycle.

Technical Details

Výrobce / Hersteller: TU Dresden, IfWW

Model / Modell: Self-construction

Contact Information

Location: TU Dresden
Kontaktní osoba / Ansprechperson: Josephine Roth

E-Mail: matun@tu-dresden.de

# Digital microscope

Description

Digital microscope with objective lens in range magnification 200-2000 times, used for optical analysis of materials and nanomaterials.

Technical Details

Výrobce / Hersteller: Keyence

Model / Modell: VHX

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# Drop shape analyser

Description

Analysis of wetting and adhesion, determination of contact angle and surface tension

Technical Details 
-

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Electrospinning device

Description

Preparation of nanofibrous textiles based on electrospinning, both from a needle and in a needleless arrangement

Technical Details

Výrobce / Hersteller: Inocure

Model / Modell: InoSPIN mini

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# Ellipsometer

Description

Spectroscopic 190 - 2100 nm, automated VASE 40o-90o, automated XY stage diameter 200 mm, 
selectable footprint 0.05 mm to 1 mm

Technical Details

Výrobce / Hersteller: Horiba

Model / Modell: UVISEL Plus

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Freeze-drying system

Description									Contact Information

- Compact high-performance laboratory freeze-dryer			Location: TU Dresden

- Suitable for vials, ampoules, and tubes					Kontaktní osoba / Ansprechperson: Josephine Roth

- Ideal for pharmaceutical and solvent-containing samples		E-Mail: matun@tu-dresden.de

Technical Details

Výrobce / Hersteller: Perkin Elmer

Model / Modell: Spectrum Two + UATR-Einheit

Sample size/sample quantity:

- Designed to accommodate small sample sizes

- Suitable for analyzing microgram quantities

Requirements for sample preparation:

- Place samples in vials or ampoules

- Ensure compatibility with freeze-drying

- Do not exceed unit capacity

- Proper sealing required for sample integrity

# FT-IR spectrometer + UATR

Description:

- Fourier Transform Infrared (FT-IR) Spectrometer with Universal Attenuated Total Reflectance (UATR) accessory

- Enables rapid, non-destructive analysis of a wide range of samples, including solids, liquids, and pastes

- Suitable for applications in pharmaceuticals, polymers, and academia

Technical Details								Contact Information

Výrobce / Hersteller: Perkin Elmer						Location: TU Dresden

Model / Modell: Spectrum Two + UATR-Einheit					Kontaktní osoba / Ansprechperson: Josephine Roth

Sample size/sample quantity: 							E-Mail: matun@tu-dresden.de

- Designed to accommodate small sample sizes

- Suitable for analyzing microgram quantities

Requirements for sample preparation:

Minimal preparation required

- For solids: place directly on the UATR crystal

- For liquids: apply a drop onto the crystal

# Gas-material de/sorption tester

Description

Application of the Dynamic gas chromatography and Pressure decay methods for complex determination of sorption and desorption properties, catalytic activity especially of flexible materials (textiles) in interaction with these gases and vapors (H2, D2, N2, Noble gases, CO, CO2, SO3, Air, Alkanes, Alkenes, Alkynes, Hydrocarbon Halogen Derivatives).

Technical Details

Výrobce / Hersteller: SVCS + UJEP

Model / Modell: prototype

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Václav Šícha

E-Mail: matun@ujep.cz

# Ice adhesion test

Description

The ice adhesion tester is a special design from the mechanical-technical laboratory of the Institute of Materials Science. It is a horizontally arranged shear test. It determines the shear stress required to detach a frozen ice puck under quasi-static load. With one cooling cycle, 10 samples can be tested in succession

Technical Details

Výrobce / Hersteller: TU Dresden, IfWW – using an ESPEC-Kammer SH242

Model / Modell: Self-construction

Contact Information

Location: TU Dresden

Kontaktní osoba / Ansprechperson: Josephine Roth

E-Mail: matun@tu-dresden.de

# LINKAM-cooling chambre

Description

- Enables controlled heating and cooling of samples

- Observation of crystallization processes, temperature-dependent structural changes, temperature-influenced mechanical experiments and similar

- Temperature range of -40 to + 150°C

Technical Details

Výrobce / Hersteller: Linkam Scientific Instruments Ltd.

Model / Modell: THMS 600, LTD 350

Contact Information

Location: TU Dresden

Kontaktní osoba / Ansprechperson: Josephine Roth

E-Mail: josephine.roth@tu-dresden.de

# Micro-CT

Description										Contact Information

- In-vivo high-resolution Micro-CT scanner for small animals			Location: TU Dresden

- Enables non-invasive 3D imaging						E-Mail: matun@tu-dresden.de

- Low X-ray dose for longitudinal studies

- Large field of view for full-body scan

Technical Details

Sample size/sample quantity:								Výrobce / Hersteller: SancoMedical

Designed for small animals (mice, rats)							Model / Modell: vivaCT 75

- Capable of whole-body imaging

- Suitable for longitudinal studies

Requirements for sample preparation

- Minimal preparation required

- Light sedation or anesthesia 
to prevent movement

# MicroTester / MicroSquisher

Description

- Micro-scale mechanical test system for high-precision material testing

- Designed for small specimens with superior force resolution

- Enables easy test setups with real-time visual monitoring

- Suitable for small tissue samples, hydrogel microspheres, cell spheroids, and engineered microtissue

Technical Details

Výrobce / Hersteller: Cell Scale

Model / Modell: MicroTester

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Moisture analyzer

Description

Laboratory instrument for measuring relative moisture content in various materials

Technical Details

Výrobce / Hersteller: Radwag

Model / Modell: Feuchtebestimmer MA 60.3Y

Sample size/sample quantity: Maximum sample weight: 60 g

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Muffle furnace

Description

High-temperature furnace for heat treatment processes

Suitable for annealing, tempering, and hardening of materials

Technical Details

Výrobce / Hersteller: Paddelttherm

Model / Modell: TC 405/20

Sample size/sample quantity:

Chamber size: 400 mm width × 500 mm depth × 200 mm height
Suitable for medium-sized samples

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Nano-hardness meter

Description

High sensitivity (75 nN, 0.2 nm), accuracy and reliability.

The ultra-sensitive xProbe transducer can then offer nanoindentation with near AFM parameters.

Technical Details

Výrobce / Hersteller: Hysitron

Model / Modell: TI Premier

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Nanotribometer

Description

- Pin-on-disk design

- temperature chamber up to 400 °C

- can be measured with or without lubrication

- load below 1N

Technical Details

Výrobce / Hersteller: Bruker UMT

Model / Modell: Tribolab

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# NMR spectroscopy

Description

Samples in the magnetic field are irradiated with short radio waves, the response of nuclei can determine the composition and structure of molecules, for solutions and solids.

Technical Details

Výrobce / Hersteller: JEOL

Model / Modell: JNM-ECZ400R/M1

Contact Information

Kontaktní osoba / Ansprechperson: Václav Šícha

E-Mail: matun@ujep.cz

# Plasma apparatus for powders

Description

Variable system for plasma surface treatment of casing and bulk materials under low pressure.

Technical Details

Výrobce / Hersteller: UJEP

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Plasma apparatus for thin film formation

Description

Universal system for deposition of thin films by magnetron sputtering supplemented by plasma polymerization capabilities.

Technical Details

Výrobce / Hersteller: UJEP

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

# Powder x-ray diffractometer

Description

X-ray diffractometer for studying the structure of substances; position-sensitive detector or proportional detector available; Anton Paar HTK 1200N high-temperature chamber (up to 1200oC) can be used; samples can also be measured in a capillary or in transmission geometry

Technical Details

Výrobce / Hersteller: Malvern Panalytical

Model / Modell: X’Pert MPD Pro

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# Precellyser

Description												Contact Information

- High-throughput tissue homogenizer								Location: TU Dresden

- Capable of processing up to 24 samples simultaneously					E-Mail: matun@tu-dresden.de

- Suitable for various biological samples, including
animal and plant tissues, as well as microorganisms

Technical Details

Výrobce / Hersteller: Bertin Technologies

Model / Modell: Precellyser 24

Sample size/sample quantity:

- Accommodates 1 to 24 tubes of 2 mL or 0.5 mL

- Speed range from 4,500 rpm to 6,800 rpm,
adjustable in 100 rpm increments

Requirements for sample preparation

- Load samples into appropriate tubes

# Scanning electron microscope (SEM) with tungsten cathode

Description

Resolution: sample-dependent, approx. 10 nm at 20 kV, useful magnification: 20,000x - 30,000x, Standard SE detector and 3d BSE detector (Point-electronic) with MeX software (Alicona), 3d reconstructions of the surface, roughness measurements, pixel resolutions of the images freely selectable via external image acquisition and beam control system DISS from Point-electronic, Noran system 7 -EDX system with SDD detector

Technical Details

Výrobce / Hersteller: Carl Zeiss Microscopy GmbH

Model / Modell: DSM 950

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Tensile strength analysis

Description

Determination of tensile strength for polymers, non-ferrous metals, nanofibrous materials

Technical Details

Výrobce / Hersteller: Labortech

Model / Modell: LabTest 6.050

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# Ultramicrotome

Description											Contact Information

- Precision ultramicrotome for ultrathin sectioning 					Location: TU Dresden
of biological and material science samples						E-Mail: matun@tu-dresden.de

- Designed for TEM, SEM, and AFM sample preparation

- Adjustable cutting window and speed settings

- Compatible with biological tissues, polymers, and hard materials

Technical Details

Výrobce / Hersteller: Leica

Model / Modell: EM UC6

Sample size/sample quantity:

- supports a wide range of sample sizes

Requirements for sample preparation:

- Specimens must be embedded in resin (e.g., epoxy or acrylic)

# Universal testing machine

Description

Electromechanical testing system with a capacity of 10 kN

Versatile for tensile, compression, flexural, and other mechanical tests

Load range: 100 N to 10 kN
Speed range: 0.005 to 500 mm/min
Temperature range: -70 to 350°C

Technical Details

Výrobce / Hersteller: Instron

Model / Modell: 5566

Sample size/sample quantity:

- Accommodates various sample sizes

- Specific dimensions depend on material and test standards

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# UniVert – Mechanical Test Machine

Description													Contact Information

- Compact and flexible universal testing machine for biomaterials					Location: TU Dresden

- Designed for precise mechanical analysis of biological tissues,					E-Mail: matun@tu-dresden.de
3D bio-printed structures, and medical devices

- Small footprint ideal for laboratory environments

- Provides high-precision force measurements
and controlled loading conditions

- Supports force capacities from 0.05 N to 10,000 N
Standard speed range up to 20 mm/s

Technical Details

Výrobce / Hersteller: Cell Scale

Sample size/sample quantity:

- Adjustable grips and fixtures for diverse sample types

Requirements for sample preparation:

- Specific cutting of the samples

# UV/VIS Spektroscop

Description:

-

Technical Details

Výrobce / Hersteller: TECAN

Contact Information

Location: TU Dresden

E-Mail: matun@tu-dresden.de

# Vibrating mill

Description													Contact Information

- Compact, versatile benchtop unit for dry, wet, and cryogenic grinding				Location: TU Dresden

- Ideal for homogenizing small sample volumes								E-Mail: matun@tu-dresden.de

- Suitable for biological samples, minerals, tablets, and plastics

- Capable of grinding, mixing, homogenization, cell disruption, and cryogenic grinding

- Compatible with passive cooling using liquid nitrogen (LN₂)

- Adjustable vibrational frequency from 3 Hz to 30 Hz (180 min⁻¹ to 1800 min⁻¹)

- Typical grinding time ranges from 30 seconds to 2 minutes

- Suitable for hard, medium-hard, soft, brittle, elastic, and fibrous materials

Technical Details

Výrobce / Hersteller: Retsch

Model / Modell: MM 400

Sample size/sample quantity:

- Standard grinding jars: 50 ml and 35 ml stainless steel

Requirements for sample preparation

- Ensure samples are appropriately sized (≤8 mm) for the grinding process

# Water permeability tester

Description

Determination of water permeability of textiles and nanotextiles, water column analysis

Technical Details

Výrobce / Hersteller: Polymertest

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# X-ray diffractometer for thin films

Description

X-ray diffractometer for the study of thin layers (X-ray diffraction, X-ray reflectivity), or elastic stress analysis

Technical Details

Výrobce / Hersteller: Malvern Panalytical

Model / Modell: X’Pert MPD Pro

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# X-ray fluorescence spectrometer

Description

X-ray fluorescence spectrometer for standardless elemental analysis (C-U), surface mapping with 0.2mm2 resolution, automatic feeder for 12 samples

Technical Details

Výrobce / Hersteller: Rigaku

Model / Modell: ZSX Primus IV

Contact Information

Kontaktní osoba / Ansprechperson: Petr Ryšánek

E-Mail: matun@ujep.cz

# X-ray photocelectron spectroscopy

Description

Surface-sensitive technique to determine the elemental composition of the surface, the representation of elements and their bond

Technical Details

-

Contact Information

Location: UJEP

Kontaktní osoba / Ansprechperson: Martin Kormunda

E-Mail: matun@ujep.cz

Contact

J. E. Purkyně University in Ústí nad Labem					TU Dresden

Faculty of Science 									Faculty of Mechanical Engineering

40096 Ústí nad Labem								01062 Dresden

matun@ujep.cz									matun@tu-dresden.de

Ing. Petr Lauterbach, petr.lauterbach@ujep.cz					Dr.-Ing. Ute Bergmann, Ute.Bergmann@tu-dresden.de

Bc. Zuzana Fridrichová, zuzana.fridrichova@ujep.cz				Josephine Roth, Josephine.Roth@tu-dresden.de

Gritt Ott, Gritt.Ott@tu-dresden.de

Carolin Böhme, Carolin.Boehme@tu-dresden.de

To get more information please follow the link: 	https://trans3net.eu/?page_id=5398